Bill of Quantities

| SN | Description | Unit | Quantity | Rate In Figure | Rate In Word | Amount | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Provisional Sum |  |  |  |  |  |  |
| 1 | Insurance of works, plants, materials, loss and damage to equipment’s, Contractor’s workmen and employees and third-party insurance against damage to other persons and property. [GCC 19.1] and other miscellaneous works | Ps | 1 |  |  |  |  |
| 2 | Provide and installation of project information board of size as per instruction of site architect/ engineer. | Ps | 1 |  |  |  |  |
|  | Civil Work |  |  |  |  |  |  |
| 1 | Earth work in excavation of foundation manually with approved Material as per Drawing and Technical Specifications. | Cu. m. | 26.54 |  |  |  |  |
| 2 | Plain cement Concrete (PCC) in 1:2:4 ratio | Cum | 12.31 |  |  |  |  |
| 3 | Random Rubble Stone Masonry in 1:4 c/s mortar | Cu. m. | 99.85 |  |  |  |  |
| 4 | Pointing in 1:2 c/s mortar | Sq. m. | 177 |  |  |  |  |
| 5 | 12.5 mm plastering in 1:4 c/s mortar | Sq. m. | 252.9 |  |  |  |  |
| 6 | Supplying and fixing of MS Angle Iron 40x40x5 mm (unit weight 2.94) Post @ 1.5m c/c | Kg. | 518.6 |  |  |  |  |
| 7 | Providing and painting 2 coats of enamel paint with once coat of red oxide paint | Sq. m. | 21.42 |  |  |  |  |
| 8 | Supplying and fixing of GI wire mesh (50x50mm,10 gauge) screen for fencing | Sq. m. | 177 |  |  |  |  |
| 9 | Supplying and fixing three layers of barbed wire on top of angle-iron posts, with the barbed-wire strands spaced at 6 inches, complete with all necessary fixing accessories, for fencing. | R.m. | 354 |  |  |  |  |
|  |  | Base Cost (A) |  |  |  |  | NRP |
|  |  | VAT (13%) |  |  |  |  | NRP |
|  |  | PS |  |  |  |  | NRP |
|  |  | Grand Total |  |  |  |  | NRP |